## Sheet1
太阳能水泵系统调查表 Questionary of solar water pump system
为了您使用艾达太阳能水泵系列产品效率达到最高，感谢您配合填写以下信息，我们将根据您填写的信息设计最优的系统，提供最好的服务。谢谢合作！ In order for you to make solar water pump operate more efficient, thank you for your cooperation to fill in the following information. According to the information, we will provide you with optimal system with best service. Your cooperation is highly appreciated!
1 | 系统安装地点 System installation site
| 国家 nation: Syria |  |  | 城市： city: Damascus |  |  | 海拔： elevation: |  |  | 用户名：user name: | 联系电话：contact number:
地形分类（请根据地形选择）terrain classification (choose according to terrain)
| 指近海海面和海岛、海岸、 湖岸及沙漠地区 referring offshore sea surface, sea island, coast, lakeshore and desert area |  |  |  | 指田野、乡村、丛林、丘陵以及房屋比较稀疏的乡镇和城市郊区 referring field, conutry, jungle, hills , sparsely populated villiage and city suburbs |  |  |  | 指有密集建筑群的城市市区 referring city urban area with dense buildings |  | 指有密集建筑群且房屋较高的城市市区 referring city unban area with dense and high buildings
2 | 用途 purpose
|  |  | 农业灌溉 agricultural irrigation |  |  | 荒漠治理 desertification control |  |  | 景观喷泉 sight fountain
|  |  | 牲畜饮水 livestock drinking water |  |  | 海水淡化 sea water desalination |  |  | 林木灌溉 forest agricultural
|  |  | 水循环系统 water cycle system |  |  | 生活供水 living water |  |  | 干旱治理 drought management
其他 （请说明____________________) others (please specify____________________)
3 | 具体问题 detailed questions
3.1 | 每天平均需要的用水量为______m³。 Average daily water consumption needed is_400m³
3.2 | 您已有储水装置吗？ Is there any water storage container
|  |  | 有 yes |  |  | 没有 no
3.3 | 您有每日最低需水量要求吗？ Is there a daily minimum water requirement
|  |  | 有 yes |  |  | 没有 no
如果有，每日最低需水量是_____m³。 If yes, daily minimum water requirement is 300m³
3.4 | 您的水源是_______ （井水、河水、湖水、池塘水或者其他水源）。Water source is__Well__(well water, river water, lake water, pond water and other water sources )
水的PH值是 。PH value of water is 6.8 含沙量是 g/m³。sand content is g/m³
3.5 | 请提供以下数据： 水平地面水管长度D2 是 m; pipe length on level ground D2 is 2 m; please provide the 坡面水管长 D3是 m; pipe length on slope D3 is N/A m; following data: 出水口水注射程D4是 m; water jet range at outlet 1 m 水泵和静水位线之间的垂直距离V1是 m; vertical diatance V1 between water pump and static water level is 40 m; 出水口和静水位线之间的垂直距离 V2 是 m; vertical diatance V2 between water outlet and static water level is 82 m; 井深V3 是 m; well depth V3 is 125 m; 水泵和逆变器之间接线长 V4是 m; wiring length V4 between pump and inverter is 150 m; 光伏组件和逆变器之间的距离 V5是 m。distance V5 between PV module and inverter is 50 m; 如果是井水，井直径是D1______m。if water source is well water, well diameter D1 is 0.28m
3.6 | 您是否有防雷要求？ Is there any requirement for lightning protection
|  |  | 有 yes |  |  | 没有 no
3.7 | 您计划使用什么材质的水管？ What kind of pipe do you plan to adopt?
|  |  | PVC塑料管 PVC plastic pipe | 铁管 iron pipe | 不锈钢管 stainless pipe
其他（请说明__________________) others(please specify )
水管直径是 mm。pipe diameter is 101.6 mm.
3.8 | 您是否已有水泵？Is there any water pump provided?
|  |  | 有 yes |  |  | 没有 no
如果有，水泵品牌型号是 ，水泵功率是_____马力或者_____瓦; 流量/扬程是 ；电压是 _______V ; 类型是 _______： if yes, the brand and type of water pump is ；pump power is horsepower or W; flow/lift is ; voltage is V; type is
|  |  | 单相 single phase |  | 三相 three phase
3.9 | 您是否有要求太阳能水泵系统在特定的时间工作？例如，需要在阴天工作，或者早上6点前。Is there any requirement of solar pump system operating at certain time? For example, the requirements of operating on cloudy day or before 6 a.m.
|  |  | 有 yes |  |  | 没有 no
如果有，请说明具体要求 if yes, please give specific requirements
4 | 您从哪里知道我们？ How do you get to know us?
|  |  | 农业展 agriculture exhibition |  |  | 电子展 electronics exhibition |  |  | 百度搜索 Baidu search
|  |  | 光伏展 PV exhibition |  |  | 广告 advertisement |  |  | 媒体新闻 media news
|  |  | 广交会 Canton fair |  |  | 朋友 friends |  |  | 谷歌搜索 Google search
其他（请说明 ) others (please specify )
*您提供的信息将直接影响系统的运行状况。如果数据不准确将会导致系统无法高效率的工作，甚至出现不可预期的危险。 *The information you provide will directly affect the performance of system. inaccurate data will lead to inefficiently opeartion even cause unpredictable risk .
Megawatt New Energy Technology Co., Ltd